## Sheet1
Tata Memorial Centre
Advanced Centre for Treatment, Research and Education in Cancer
Technical Specification of : Horizontal Electrophoresis System with accessories
Sr.no. | Description of Item | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
A) | Name of the Vendor :
B) | Name of the Manufacturer :
C) | Name of the Model:
D) | Year of Introduction Internationally
E) | Year of Introduction in India
Technical Specifications / Scope of Supply
1 | Horizontal Electrophoresis System with accessories-( As per items A,B and C as menioned below)complete as per below mentioned configuration and specifications:-
2 | A) Horizontal Electrophoresis System | 1 Number
3 | Horizontal Electrophoresis System capable of accepting various gel sizes of 15 x10, 15 x 15, 15x20 , 15 x 25 cm.
4 | Buffer requirement : approx. 1000 ml
5 | Complete ready to use apparatus should be supplied inclusive of the following accessories:
6 | Buffer tank and lid with power supply cables.
7 | UV Transparent tray and Gel caster - for 15 x 25 cm gels.
8 | 15 and 20 well combs
9 | B) Power Pack | 2 Numbers
10 | Suitable power supply of 300 Volts, 400 mA, 75 Watt should be supplied. Power supply should timer, LCD display for run parameters, four output terminals in parallel, etc.
11 | Constant voltage and constant current modes with automatic crossover feature.
12 | Safety features needed: No-load detection, sudden load change detection, overload/short-circuit detection, overvoltage protection
13 | C) Transfer Apparatus | 2 Sets
14 | Wet Blotting Transfer Apparatus, as per below specifications should be supplied:
15 | Suitable for transferring two gels of 10 x 7.5 cm size simultaneously.
16 | Complete ready to use apparatus should be supplied inclusive of the following accessories: ( per set)
17 | Buffer Tank, lid, Wire electrode assembly, 2 nos. gel holder cassettes, 4 nos. of foam pads, cooling pack, supply cables.
18 | ( Note:Items A, B, and C should be quoted as per specifications. All items should be of the same make. All items should be quoted. Partial offers, incomplete offers or offers with different make shall not be considered )
19 | Installation, Commissioning, testing and Training
20 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift/shift the consignment from unloading site to the installation site . Unloading site shall be "CCE Building, ACTREC Campus". If needed, Bidder has to arrange for the laborers at no charge to ACTREC. ( Before submitting the quotation, bidders may visit ACTREC to know unloading site and installation site)
21 | Installation,Commissioning and Training is included in the scope of supply. Bidder, Manufacturer and/or its authorized representative should undertake installation and commissioning of the equipment. Complete system should be installed, tested for its performance as per manufacturer's SOP/guidelines and demonstrated to the Institute's Users. In depth training should be provided to the Institute's users for maintenance,usage and applications.
22 | Service support: Authorized service and calibration support should be available in Mumbai / Navi Mumbai area.
23 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase
24 | Warranty: 2 years-on site- for Power Pack. 1 Year on Horizontal Electrophoresis Apparatus and Transfer Apparatus.
25 | Important terms to be noted by the bidders:
26 | Quote separately for all models meeting the described technical specifications including the latest model. |  | Agree/Not Agree
27 | Bidders should clearly mention about compliance of the warranty and AMC terms in the technical bid. Bids not fully complying to the warranty and AMC terms are liable to be rejected. |  | Agree/Not Agree
28 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
29 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 15 working days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
30 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
31 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder should take responsibility to lift/shift the consignment from unloading site to the installation site . If needed, Bidder has to arrange for the laborers at no charge to ACTREC. ( Bidders may visit ACTREC to know unloading site and installation site) |  | Agree/Not Agree
32 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
33 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
34 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
35 | Provide list of current installations( in the last 2-3 years) of the quoted model in India. Contact details of the end users should be provided. Provide name of the end user, email ID, tel. no. etc. |  | Agree/Not Agree
36 | Decleration by the bidder
37 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No